## Summary
PUMPGURU — Pump Protection Report
Period: Last 90 day(s) (2026-05-27T15:50:06 to now)
Generated: 2026-08-25 15:50:06
Metric | Value
Total data points logged | 267
Snapshots with an active fault | 0
Estimated uptime (fault-free) % | 100.0%
Total fault events (ACTIVE transitions) | 0
Fault Frequency Breakdown
Fault Type | Times Triggered
No faults recorded in this period.
Measurement Analysis
Parameter | Min | Max | Average | Unit
Current B Phase | 34 | 34 | 34 | A
Current R Phase | 0 | 27.5 | 4.16 | A
Current Y Phase | 0 | 0 | 0 | A
Voltage B-R | 0 | 0 | 0 | V
Voltage Y-B | 0 | 44.1 | 20.32 | V
Current Imbalance (avg, max-min / mean) | 267.3%

## Trends
Timestamp | Current B Phase | Current R Phase | Current Y Phase | Voltage B-R | Voltage R-Y | Voltage Y-B
2026-08-25T14:24:47 | 34 | 27 |  |  |  | 44
2026-08-25T14:24:52 | 34 | 27.2 |  |  |  | 44
2026-08-25T14:24:58 | 34 | 26.9 |  |  |  | 44
2026-08-25T14:25:04 | 34 | 26.8 |  |  |  | 44
2026-08-25T14:25:10 | 34 | 26.8 |  |  |  | 44
2026-08-25T14:25:15 | 34 | 27.5 |  |  |  | 44
2026-08-25T14:25:20 | 34 | 13.2 |  |  |  | 44
2026-08-25T14:25:26 | 34 | 6.7 |  |  |  | 44
2026-08-25T14:25:31 | 34 | 6.7 |  |  |  | 44
2026-08-25T14:25:36 | 34 | 6.7 |  |  |  | 44
2026-08-25T14:25:42 | 34 | 6.7 |  |  |  | 44
2026-08-25T14:25:47 | 34 | 6.7 |  |  |  | 44
2026-08-25T14:25:53 | 34 | 6.7 |  |  |  | 44
2026-08-25T14:25:59 | 34 | 6.8 |  |  |  | 43.8
2026-08-25T14:26:04 | 34 | 6.7 |  |  |  | 43.7
2026-08-25T14:26:10 | 34 | 6.7 |  |  |  | 43.7
2026-08-25T14:26:15 | 34 | 6.7 |  |  |  | 43.7
2026-08-25T14:26:21 | 34 | 6.7 |  |  |  | 43.7
2026-08-25T14:26:26 | 34 | 6.7 |  |  |  | 43.7
2026-08-25T14:26:31 | 34 | 6.8 |  |  |  | 43.9
2026-08-25T14:26:37 | 34 | 6.8 |  |  |  | 44
2026-08-25T14:26:42 | 34 | 6.8 |  |  |  | 44
2026-08-25T14:26:47 | 34 | 6.8 |  |  |  | 44
2026-08-25T14:26:54 | 34 | 6.8 |  |  |  | 44
2026-08-25T14:26:59 | 34 | 6.8 |  |  |  | 44
2026-08-25T14:27:05 | 34 | 6.8 |  |  |  | 44
2026-08-25T14:27:10 | 34 | 6.8 |  |  |  | 44
2026-08-25T14:27:15 | 34 | 6.8 |  |  |  | 44
2026-08-25T14:27:21 | 34 | 6.8 |  |  |  | 44
2026-08-25T14:27:26 | 34 | 6.8 |  |  |  | 44
2026-08-25T14:27:32 | 34 | 6.8 |  |  |  | 43.9
2026-08-25T14:27:37 | 34 | 6.8 |  |  |  | 44.1
2026-08-25T14:27:42 | 34 | 6.9 |  |  |  | 44.1
2026-08-25T14:27:49
2026-08-25T14:27:54
2026-08-25T14:27:59
2026-08-25T14:28:04
2026-08-25T14:28:09
2026-08-25T14:28:14
2026-08-25T14:28:19
2026-08-25T14:28:24
2026-08-25T14:28:29
2026-08-25T14:28:34
2026-08-25T14:28:39
2026-08-25T14:28:44
2026-08-25T14:28:49
2026-08-25T14:28:54
2026-08-25T14:28:59
2026-08-25T14:29:04
2026-08-25T14:29:09
2026-08-25T14:29:14
2026-08-25T14:29:19
2026-08-25T14:29:24
2026-08-25T14:29:29
2026-08-25T14:29:34
2026-08-25T14:29:39
2026-08-25T14:29:44
2026-08-25T14:29:49
2026-08-25T14:29:54
2026-08-25T14:29:59
2026-08-25T14:30:04
2026-08-25T14:30:09
2026-08-25T14:30:14
2026-08-25T14:30:19
2026-08-25T14:30:24
2026-08-25T14:30:29
2026-08-25T14:30:34
2026-08-25T14:30:39
2026-08-25T14:30:44
2026-08-25T14:30:49
2026-08-25T14:30:54
2026-08-25T14:30:59
2026-08-25T14:31:04
2026-08-25T14:31:10
2026-08-25T14:32:29
2026-08-25T14:32:35
2026-08-25T14:32:40
2026-08-25T14:32:45
2026-08-25T14:32:50
2026-08-25T14:32:55
2026-08-25T14:33:00
2026-08-25T14:33:05
2026-08-25T14:33:10
2026-08-25T14:33:15
2026-08-25T14:33:20
2026-08-25T14:33:25
2026-08-25T14:33:30
2026-08-25T14:33:35
2026-08-25T14:33:40
2026-08-25T14:33:45
2026-08-25T14:33:50
2026-08-25T14:33:55
2026-08-25T14:34:00
2026-08-25T14:34:05
2026-08-25T14:34:10
2026-08-25T14:34:15
2026-08-25T14:34:20
2026-08-25T14:34:25
2026-08-25T14:34:30
2026-08-25T14:34:35
2026-08-25T14:34:40
2026-08-25T14:34:45
2026-08-25T14:34:50
2026-08-25T14:34:55
2026-08-25T14:35:00
2026-08-25T14:35:05
2026-08-25T15:13:30 | 34 | 0 |  |  |  | 0
2026-08-25T15:13:35 | 34 | 0 |  |  |  | 0
2026-08-25T15:13:41 | 34 | 0 |  |  |  | 0
2026-08-25T15:13:46 | 34 | 0 |  |  |  | 0
2026-08-25T15:13:52 | 34 | 0 |  |  |  | 0
2026-08-25T15:13:59 | 34 | 0 |  |  |  | 0
2026-08-25T15:14:04 | 34 | 0 |  |  |  | 0
2026-08-25T15:14:11 | 34 | 0 |  |  |  | 0
2026-08-25T15:15:00 | 34 | 0 |  |  |  | 0
2026-08-25T15:15:05 | 34 | 0 |  |  |  | 0
2026-08-25T15:15:12 | 34 | 0 |  |  |  | 0
2026-08-25T15:15:18 | 34 | 0 |  |  |  | 0
2026-08-25T15:15:24 | 34 | 0 |  |  |  | 0
2026-08-25T15:15:30 | 34 | 0 |  |  |  | 0
2026-08-25T15:15:35 | 34 | 0 |  |  |  | 0
2026-08-25T15:15:41 | 34 | 0 |  |  |  | 0
2026-08-25T15:15:47 | 34 | 0 |  |  |  | 0
2026-08-25T15:15:53 | 34 | 0 |  |  |  | 0
2026-08-25T15:15:59 | 34 | 0 |  |  |  | 0
2026-08-25T15:16:06 | 34 | 0 |  |  |  | 0
2026-08-25T15:16:11 | 34 | 0 | 0 |  |  | 0
2026-08-25T15:16:18 | 34 | 0 |  |  |  | 0
2026-08-25T15:16:23 | 34 | 0 |  |  |  | 0
2026-08-25T15:16:29 | 34 | 0 |  |  |  | 0
2026-08-25T15:16:35 | 34 | 0 |  |  |  | 0
2026-08-25T15:16:40 | 34 | 0 |  |  |  | 0
2026-08-25T15:16:46 | 34 | 0 |  |  |  | 0
2026-08-25T15:16:52 | 34 | 0 |  |  |  | 0
2026-08-25T15:16:57 | 34 | 0 |  |  |  | 0
2026-08-25T15:17:03 | 34 | 0 |  |  |  | 0
2026-08-25T15:17:08 | 34 | 0 |  |  |  | 0
2026-08-25T15:17:14 | 34 | 0 |  |  |  | 0
2026-08-25T15:17:20 | 34 | 0 |  |  |  | 0
2026-08-25T15:17:26 | 34 | 0 |  |  |  | 0
2026-08-25T15:17:32 | 34 | 0 |  |  |  | 0
2026-08-25T15:17:39 | 34 | 0 |  |  |  | 0
2026-08-25T15:17:44 | 34 | 0 |  |  |  | 0
2026-08-25T15:17:51 | 34 | 0 |  |  |  | 0
2026-08-25T15:17:56 | 34 | 0 |  |  |  | 0
2026-08-25T15:18:03 | 34 | 0 |  |  |  | 0
2026-08-25T15:18:09 | 34 | 0 |  |  |  | 0
2026-08-25T15:18:15 | 34 | 0 |  |  |  | 0
2026-08-25T15:18:21
2026-08-25T15:18:26
2026-08-25T15:18:32
2026-08-25T15:18:37
2026-08-25T15:18:42
2026-08-25T15:18:48
2026-08-25T15:18:53
2026-08-25T15:18:58
2026-08-25T15:19:04
2026-08-25T15:19:09
2026-08-25T15:19:14
2026-08-25T15:19:20
2026-08-25T15:19:25
2026-08-25T15:19:30
2026-08-25T15:19:36
2026-08-25T15:19:41
2026-08-25T15:19:46
2026-08-25T15:19:52
2026-08-25T15:19:57
2026-08-25T15:20:02
2026-08-25T15:20:08
2026-08-25T15:20:13
2026-08-25T15:20:18
2026-08-25T15:20:24
2026-08-25T15:20:29
2026-08-25T15:20:34
2026-08-25T15:20:40
2026-08-25T15:20:58 | 34 | 0 |  |  |  | 0
2026-08-25T15:21:04 | 34 | 0 |  |  |  | 0
2026-08-25T15:21:15 | 34 | 0 |  |  |  | 0
2026-08-25T15:21:21 | 34 | 0 |  |  |  | 0
2026-08-25T15:21:26 | 34 | 0 |  |  |  | 0
2026-08-25T15:21:32 | 34 | 0 |  |  |  | 0
2026-08-25T15:21:38 | 34 | 0 |  |  |  | 0
2026-08-25T15:21:43 | 34 | 0 |  |  |  | 0
2026-08-25T15:21:49 | 34 | 0 |  |  |  | 0
2026-08-25T15:21:54 | 34 | 0 |  |  |  | 0
2026-08-25T15:22:00 | 34 | 0 |  |  |  | 0
2026-08-25T15:22:07 | 34 | 0 |  |  |  | 0
2026-08-25T15:22:12 | 34 | 0 |  |  |  | 0
2026-08-25T15:22:19 | 34 | 0 |  |  |  | 0
2026-08-25T15:22:25 | 34 | 0 |  | 0 |  | 0
2026-08-25T15:22:30 | 34 | 0 |  |  |  | 0
2026-08-25T15:22:36 | 34 | 0 |  |  |  | 0
2026-08-25T15:22:47 | 34 | 0 |  |  |  | 0
2026-08-25T15:22:52 | 34 | 0 |  |  |  | 0
2026-08-25T15:22:58 | 34 | 0 |  |  |  | 0
2026-08-25T15:23:04 | 34 | 0 |  |  |  | 0
2026-08-25T15:23:09 | 34 | 0 |  |  |  | 0
2026-08-25T15:23:15 | 34 | 0 |  |  |  | 0
2026-08-25T15:23:20 | 34 | 0 |  |  |  | 0
2026-08-25T15:23:26 | 34 | 0 |  |  |  | 0
2026-08-25T15:23:32 | 34 | 0 |  | 0 |  | 0
2026-08-25T15:23:37 | 34 | 0 |  |  |  | 0
2026-08-25T15:23:43 | 34 | 0 |  |  |  | 0
2026-08-25T15:23:49 | 34 | 0 |  |  |  | 0
2026-08-25T15:23:55 | 34 | 0 |  |  |  | 0
2026-08-25T15:24:01 | 34 | 0 |  |  |  | 0
2026-08-25T15:24:07 | 34 | 0 |  |  |  | 0
2026-08-25T15:24:13 | 34 | 0 |  |  |  | 0
2026-08-25T15:24:19 | 34 | 0 |  |  |  | 0
2026-08-25T15:24:25 | 34 | 0 |  |  |  | 0
2026-08-25T15:24:37 | 34 | 0 |  |  |  | 0
2026-08-25T15:24:42 | 34 | 7.4 |  |  |  | 44
2026-08-25T15:24:48 | 34 | 7.5 |  |  |  | 44
2026-08-25T15:24:53 | 34 | 7.5 |  |  |  | 44
2026-08-25T15:24:59 | 34 | 7.5 |  |  |  | 44
2026-08-25T15:25:05 | 34 | 7.4 |  |  |  | 44
2026-08-25T15:25:10 | 34 | 7.4 |  |  |  | 44
2026-08-25T15:25:16 | 34 | 7.4 |  |  |  | 44
2026-08-25T15:25:22 | 34 | 7.4 |  | 0 |  | 44
2026-08-25T15:25:27 | 34 | 7.5 |  |  |  | 44
2026-08-25T15:25:33 | 34 | 7.4 |  |  |  | 44
2026-08-25T15:25:38 | 34 | 7.4 |  |  |  | 44
2026-08-25T15:25:45 | 34 | 7.5 |  |  |  | 44
2026-08-25T15:25:51 | 34 | 7.4 |  |  |  | 44
2026-08-25T15:26:02 | 34 | 7.5 |  |  |  | 44
2026-08-25T15:26:08 | 34 | 7.4 |  |  |  | 44
2026-08-25T15:26:13 | 34 | 7.4 |  |  |  | 44
2026-08-25T15:26:19 | 34 | 7.4 |  |  |  | 44
2026-08-25T15:26:24 | 34 | 7.4 |  |  |  | 44
2026-08-25T15:26:30 | 34 | 7.4 |  |  |  | 44
2026-08-25T15:26:36 | 34 | 7.4 |  |  |  | 44
2026-08-25T15:26:41 | 34 | 7.4 |  |  |  | 44
2026-08-25T15:26:47 | 34 | 7.4 |  |  |  | 44
2026-08-25T15:26:53 | 34 | 7.4 |  |  |  | 44
2026-08-25T15:26:58 | 34 | 7.4 |  |  |  | 44
2026-08-25T15:27:09 | 34 | 7.4 |  |  |  | 44
2026-08-25T15:27:15 | 34 | 7.4 |  |  |  | 44
2026-08-25T15:27:20 | 34 | 7.4 |  |  |  | 44
2026-08-25T15:27:26 | 34 | 7.4 |  |  |  | 44
2026-08-25T15:27:32 | 34 | 7.4 |  |  |  | 44
2026-08-25T15:33:53 | 34 | 7.4 |  |  |  | 44
2026-08-25T15:33:58 | 34 | 7.4 |  |  |  | 43.9
2026-08-25T15:34:05 | 34 | 7.4 |  |  |  | 44
2026-08-25T15:34:16 | 34 | 7.4 |  |  |  | 44
2026-08-25T15:34:22 | 34 | 7.4 |  |  |  | 44
2026-08-25T15:45:44
2026-08-25T15:45:50
2026-08-25T15:45:56
2026-08-25T15:46:02
2026-08-25T15:46:08
2026-08-25T15:46:14
2026-08-25T15:46:20
2026-08-25T15:46:25
2026-08-25T15:48:44
2026-08-25T15:48:51
2026-08-25T15:48:58
2026-08-25T15:49:04
2026-08-25T15:49:10
2026-08-25T15:49:16
2026-08-25T15:49:21
2026-08-25T15:49:28
2026-08-25T15:49:34
2026-08-25T15:49:40
2026-08-25T15:49:46
2026-08-25T15:49:52
2026-08-25T15:49:59
2026-08-25T15:50:05

## Phase Analysis
Timestamp | Voltage Imbalance % | Current Imbalance %
2026-08-25T14:24:47 |  | 22.95
2026-08-25T14:24:52 |  | 22.22
2026-08-25T14:24:58 |  | 23.32
2026-08-25T14:25:04 |  | 23.68
2026-08-25T14:25:10 |  | 23.68
2026-08-25T14:25:15 |  | 21.14
2026-08-25T14:25:20 |  | 88.14
2026-08-25T14:25:26 |  | 134.15
2026-08-25T14:25:31 |  | 134.15
2026-08-25T14:25:36 |  | 134.15
2026-08-25T14:25:42 |  | 134.15
2026-08-25T14:25:47 |  | 134.15
2026-08-25T14:25:53 |  | 134.15
2026-08-25T14:25:59 |  | 133.33
2026-08-25T14:26:04 |  | 134.15
2026-08-25T14:26:10 |  | 134.15
2026-08-25T14:26:15 |  | 134.15
2026-08-25T14:26:21 |  | 134.15
2026-08-25T14:26:26 |  | 134.15
2026-08-25T14:26:31 |  | 133.33
2026-08-25T14:26:37 |  | 133.33
2026-08-25T14:26:42 |  | 133.33
2026-08-25T14:26:47 |  | 133.33
2026-08-25T14:26:54 |  | 133.33
2026-08-25T14:26:59 |  | 133.33
2026-08-25T14:27:05 |  | 133.33
2026-08-25T14:27:10 |  | 133.33
2026-08-25T14:27:15 |  | 133.33
2026-08-25T14:27:21 |  | 133.33
2026-08-25T14:27:26 |  | 133.33
2026-08-25T14:27:32 |  | 133.33
2026-08-25T14:27:37 |  | 133.33
2026-08-25T14:27:42 |  | 132.52
2026-08-25T14:27:49
2026-08-25T14:27:54
2026-08-25T14:27:59
2026-08-25T14:28:04
2026-08-25T14:28:09
2026-08-25T14:28:14
2026-08-25T14:28:19
2026-08-25T14:28:24
2026-08-25T14:28:29
2026-08-25T14:28:34
2026-08-25T14:28:39
2026-08-25T14:28:44
2026-08-25T14:28:49
2026-08-25T14:28:54
2026-08-25T14:28:59
2026-08-25T14:29:04
2026-08-25T14:29:09
2026-08-25T14:29:14
2026-08-25T14:29:19
2026-08-25T14:29:24
2026-08-25T14:29:29
2026-08-25T14:29:34
2026-08-25T14:29:39
2026-08-25T14:29:44
2026-08-25T14:29:49
2026-08-25T14:29:54
2026-08-25T14:29:59
2026-08-25T14:30:04
2026-08-25T14:30:09
2026-08-25T14:30:14
2026-08-25T14:30:19
2026-08-25T14:30:24
2026-08-25T14:30:29
2026-08-25T14:30:34
2026-08-25T14:30:39
2026-08-25T14:30:44
2026-08-25T14:30:49
2026-08-25T14:30:54
2026-08-25T14:30:59
2026-08-25T14:31:04
2026-08-25T14:31:10
2026-08-25T14:32:29
2026-08-25T14:32:35
2026-08-25T14:32:40
2026-08-25T14:32:45
2026-08-25T14:32:50
2026-08-25T14:32:55
2026-08-25T14:33:00
2026-08-25T14:33:05
2026-08-25T14:33:10
2026-08-25T14:33:15
2026-08-25T14:33:20
2026-08-25T14:33:25
2026-08-25T14:33:30
2026-08-25T14:33:35
2026-08-25T14:33:40
2026-08-25T14:33:45
2026-08-25T14:33:50
2026-08-25T14:33:55
2026-08-25T14:34:00
2026-08-25T14:34:05
2026-08-25T14:34:10
2026-08-25T14:34:15
2026-08-25T14:34:20
2026-08-25T14:34:25
2026-08-25T14:34:30
2026-08-25T14:34:35
2026-08-25T14:34:40
2026-08-25T14:34:45
2026-08-25T14:34:50
2026-08-25T14:34:55
2026-08-25T14:35:00
2026-08-25T14:35:05
2026-08-25T15:13:30 |  | 200
2026-08-25T15:13:35 |  | 200
2026-08-25T15:13:41 |  | 200
2026-08-25T15:13:46 |  | 200
2026-08-25T15:13:52 |  | 200
2026-08-25T15:13:59 |  | 200
2026-08-25T15:14:04 |  | 200
2026-08-25T15:14:11 |  | 200
2026-08-25T15:15:00 |  | 200
2026-08-25T15:15:05 |  | 200
2026-08-25T15:15:12 |  | 200
2026-08-25T15:15:18 |  | 200
2026-08-25T15:15:24 |  | 200
2026-08-25T15:15:30 |  | 200
2026-08-25T15:15:35 |  | 200
2026-08-25T15:15:41 |  | 200
2026-08-25T15:15:47 |  | 200
2026-08-25T15:15:53 |  | 200
2026-08-25T15:15:59 |  | 200
2026-08-25T15:16:06 |  | 200
2026-08-25T15:16:11 |  | 300
2026-08-25T15:16:18 |  | 200
2026-08-25T15:16:23 |  | 200
2026-08-25T15:16:29 |  | 200
2026-08-25T15:16:35 |  | 200
2026-08-25T15:16:40 |  | 200
2026-08-25T15:16:46 |  | 200
2026-08-25T15:16:52 |  | 200
2026-08-25T15:16:57 |  | 200
2026-08-25T15:17:03 |  | 200
2026-08-25T15:17:08 |  | 200
2026-08-25T15:17:14 |  | 200
2026-08-25T15:17:20 |  | 200
2026-08-25T15:17:26 |  | 200
2026-08-25T15:17:32 |  | 200
2026-08-25T15:17:39 |  | 200
2026-08-25T15:17:44 |  | 200
2026-08-25T15:17:51 |  | 200
2026-08-25T15:17:56 |  | 200
2026-08-25T15:18:03 |  | 200
2026-08-25T15:18:09 |  | 200
2026-08-25T15:18:15 |  | 200
2026-08-25T15:18:21
2026-08-25T15:18:26
2026-08-25T15:18:32
2026-08-25T15:18:37
2026-08-25T15:18:42
2026-08-25T15:18:48
2026-08-25T15:18:53
2026-08-25T15:18:58
2026-08-25T15:19:04
2026-08-25T15:19:09
2026-08-25T15:19:14
2026-08-25T15:19:20
2026-08-25T15:19:25
2026-08-25T15:19:30
2026-08-25T15:19:36
2026-08-25T15:19:41
2026-08-25T15:19:46
2026-08-25T15:19:52
2026-08-25T15:19:57
2026-08-25T15:20:02
2026-08-25T15:20:08
2026-08-25T15:20:13
2026-08-25T15:20:18
2026-08-25T15:20:24
2026-08-25T15:20:29
2026-08-25T15:20:34
2026-08-25T15:20:40
2026-08-25T15:20:58 |  | 200
2026-08-25T15:21:04 |  | 200
2026-08-25T15:21:15 |  | 200
2026-08-25T15:21:21 |  | 200
2026-08-25T15:21:26 |  | 200
2026-08-25T15:21:32 |  | 200
2026-08-25T15:21:38 |  | 200
2026-08-25T15:21:43 |  | 200
2026-08-25T15:21:49 |  | 200
2026-08-25T15:21:54 |  | 200
2026-08-25T15:22:00 |  | 200
2026-08-25T15:22:07 |  | 200
2026-08-25T15:22:12 |  | 200
2026-08-25T15:22:19 |  | 200
2026-08-25T15:22:25 |  | 200
2026-08-25T15:22:30 |  | 200
2026-08-25T15:22:36 |  | 200
2026-08-25T15:22:47 |  | 200
2026-08-25T15:22:52 |  | 200
2026-08-25T15:22:58 |  | 200
2026-08-25T15:23:04 |  | 200
2026-08-25T15:23:09 |  | 200
2026-08-25T15:23:15 |  | 200
2026-08-25T15:23:20 |  | 200
2026-08-25T15:23:26 |  | 200
2026-08-25T15:23:32 |  | 200
2026-08-25T15:23:37 |  | 200
2026-08-25T15:23:43 |  | 200
2026-08-25T15:23:49 |  | 200
2026-08-25T15:23:55 |  | 200
2026-08-25T15:24:01 |  | 200
2026-08-25T15:24:07 |  | 200
2026-08-25T15:24:13 |  | 200
2026-08-25T15:24:19 |  | 200
2026-08-25T15:24:25 |  | 200
2026-08-25T15:24:37 |  | 200
2026-08-25T15:24:42 |  | 128.5
2026-08-25T15:24:48 |  | 127.71
2026-08-25T15:24:53 |  | 127.71
2026-08-25T15:24:59 |  | 127.71
2026-08-25T15:25:05 |  | 128.5
2026-08-25T15:25:10 |  | 128.5
2026-08-25T15:25:16 |  | 128.5
2026-08-25T15:25:22 | 200 | 128.5
2026-08-25T15:25:27 |  | 127.71
2026-08-25T15:25:33 |  | 128.5
2026-08-25T15:25:38 |  | 128.5
2026-08-25T15:25:45 |  | 127.71
2026-08-25T15:25:51 |  | 128.5
2026-08-25T15:26:02 |  | 127.71
2026-08-25T15:26:08 |  | 128.5
2026-08-25T15:26:13 |  | 128.5
2026-08-25T15:26:19 |  | 128.5
2026-08-25T15:26:24 |  | 128.5
2026-08-25T15:26:30 |  | 128.5
2026-08-25T15:26:36 |  | 128.5
2026-08-25T15:26:41 |  | 128.5
2026-08-25T15:26:47 |  | 128.5
2026-08-25T15:26:53 |  | 128.5
2026-08-25T15:26:58 |  | 128.5
2026-08-25T15:27:09 |  | 128.5
2026-08-25T15:27:15 |  | 128.5
2026-08-25T15:27:20 |  | 128.5
2026-08-25T15:27:26 |  | 128.5
2026-08-25T15:27:32 |  | 128.5
2026-08-25T15:33:53 |  | 128.5
2026-08-25T15:33:58 |  | 128.5
2026-08-25T15:34:05 |  | 128.5
2026-08-25T15:34:16 |  | 128.5
2026-08-25T15:34:22 |  | 128.5
2026-08-25T15:45:44
2026-08-25T15:45:50
2026-08-25T15:45:56
2026-08-25T15:46:02
2026-08-25T15:46:08
2026-08-25T15:46:14
2026-08-25T15:46:20
2026-08-25T15:46:25
2026-08-25T15:48:44
2026-08-25T15:48:51
2026-08-25T15:48:58
2026-08-25T15:49:04
2026-08-25T15:49:10
2026-08-25T15:49:16
2026-08-25T15:49:21
2026-08-25T15:49:28
2026-08-25T15:49:34
2026-08-25T15:49:40
2026-08-25T15:49:46
2026-08-25T15:49:52
2026-08-25T15:49:59
2026-08-25T15:50:05

## Fault Event Log
Timestamp | Fault | State